Influence of electrolysis process on propagation of microorganisms in water

Madars Reimanis, Jurijs Ozolins, Juris Malers, Liga Berzina-Cimdina 

Riga Technical University Riga Biomaterials Innovation and Development Centre, Riga, Latvia
The service effectiveness and service duration of a water system might deteriorate if the quantity of microorganisms and organic matter increases. 

Electrochemical treatment methods are considered an effective way to decrease such pollutants.

Oxidants created by the electrolysis process deteriorate the organic matter in the water and lessen the microbiological pollution. Substances created in the electrolysis process can act as disinfectants to delay further propagation of microorganisms.

Specially synthesized TiOx containing ceramic electrode (with 12,1 cm2 surface area) was used as an anode.

The quantity of organic matter in the water was given as permanganate index IMn, mg O2/L (determined using standard method described in LVS EN ISO 8467:200 L "Water quality - Determination of permanganate index").

In this study it was found that if the current density is increased to 8,3mA/cm2 for 2 hours the IMn of the treated water decreased by 10%.

If chloride ions are present during the electrolysis the decrease of IMn was more rapid using current density 8,3mA/cm2 IMn decreased by 78% in 1 hour.

It was also found that the increase of chloride ion concentration and electrolysis time increased the amount of chlorine in water. This factor should be considered to avoid exceeding the recommended chlorine concentration in water.

Use of the TiOx electrode promotes the deterioration of organic matter as indicated by changes in IMn. IMn also indirectly indicates the amount of microorganisms in the water.

Electrolysis process using a ceramic TiOx electrode in the presence of chloride ions can create a lasting disinfectant effect that manifests as decrease in propagation intensity of microorganisms. 

