Water preperation using electrochemical process.
M. Reimanis, J. Malers, J. Ozolins

Riga Technical University, Faculty of Materials Science and Applied Chemistry, Riga, Latvia.
Keywords: demineralization, calcium and iron ions, Pseudomonas fluorescens
In many tachnological processes the quality of water depends on concentration of iron and calcium ions.
The electrolysis and electrodialysis process effects on iron and calcium ion concentration and the development of micro-organisms in water has been studied. The experiment was conducted using iron and calcium ions containing model solutions under laboratory conditions. A model organism for disinfection experiments were used bacteria Pseudomonas fluorescens. 

In work was found that filtering solution through the quartz sand reduces the amount of iron ions 20 times, but the solution electrolysis, followed by filtration through quartz sand layer the total iron concentration reduces from 40 - 50 times. Increasing of the total iron ion concentration in solution sample specific electrolysis process consumed work is decreasing. 
It was found that calcium and total iron ion concentration in FeSO4 and CaCO3 containing solution decreased during electrodialysis. The rapid concentration decrease has been observed in the process beginning.
Electrolysis of water solution containing 1 mmol/L of chlorine ions without iron removal also effect  the microbiological situation. There is no bacteria Pseudomonas fluorescens colony-forming unit development electrolysed water within five days. Water electrodialysis efficiently desalinate solution. Desalter water significantly reduced the development intensity of bacterium Pseudomonas fluorescens colony forming units (up to 1500 times). 

Electrolysis of water solution containing 1 mmol/L of chlorine ions without iron removal also significantly improves the microbiological situation. Bacteria Pseudomonas fluorescens colony forming unit development in electrolysed water within five days was no found.

The water electrodialysis efficiently desalinate solution. The bacterium Pseudomonas fluorescens colony forming units development intensity in desalter water was significantly reduced.
Contacts:
Madars Reimanis, researcher, Mg.sc.

Riga Technical University, Faculty of Materials Science and Applied Chemistry

Address: Azenes 14/24, LV 1048, Riga, Latvia

Phone: 371 67089211

E-mail: madars.r@inbox.lv
