Electrical conductive TinO2n-1 ceramic extraction and use for water treatment with electrolysis
Authors:
PhD Student Madars Reimanis, Latvia – affiliation: 1 

PhD Student A. Pavlova, Latvia – affiliation: 2 

Dr.sc.ing. Juris Malers, Latvia – affiliation:1 
Professor Liga Berzina-Cimdina, Latvia – affiliations: 1, 2

Professor Jurijs Ozolins, Latvia – affiliations: 1 

Affiliation(s) Description:

1) Riga Technical University, Faculty of Materials Science and Applied Chemistry,
Azenes 14/24, LV 1048, Riga, Latvia, E-mail: madars.r@inbox.lv
2) Riga Technical University, Riga Biomaterials Innovation and Development Centre,

Pulka street 3/3, LV 1007 Riga, Latvia
Abstract:
Water disinfection with electrolysis is an alternative for water treatment, which is receiving increasing attention from drinking and industrial water production industry. With this approach oxidants are produced from electrolysis of water molecule and some of dissolved chemical compounds like chlorine ions (O(, OH(, H2O2, ClO-, Cl2) which are normally present in drinking waters. To carry out the process of electrolysis the use of TinO2n-1 containing ceramic electrodes are possible. 
The ceramic electrodes were obtained from titanium oxide (anataz) mass by the way of extrusion with the thermal treatment at 1100oC temperature following and without oxygen medium at pressure 6.6·10-3 Pa. The obtained samples have necessary electrical properties determined by nonstoichiometric structure and the concentration of defects in TinO2n-1 crystal grating connected with it. 
The obtained electrodes were used for forming electrolytic cell. Increasing the number of electrodes into cell to 9 at permanent current level (0.1 A) the resistance of cell decreases, but the amount of chlorine, which is delivered in the process of electrolysis, stays permanent, specific current work decreases from 288.8 J/mgCl2 till 108.3 J/mgCl2. To carry out electrolysis with constant current density (8.1mA/m2) and increasing the number of electrodes, the released amount of chlorine increases 3.5 times, but specific current work 2.7 times. By increasing another ions concentration in the solution and flow velocity, the amount of released chlorine in the electrolytic cell decreases. It was demonstrated that the electrolysis of water at dynamic conditions influences significantly the possible growth of microorganisms. After 5 days electrolyses with current level at least 0.05 A in the treated water the bacteria Pseudomonas fluorescenscolony forming units were not detected.
