WATER PREPERATION USING TinO2n-1 ELECTRODES
Madars Reimanis, Juris Malers, Jurijs Ozolins

Riga Technical University, Faculty of Materials Science and Applied Chemistry, Azenes 14/24, LV 1048, Riga, Latvia, E-mail: madars.r@inbox.lv
Water disinfection with electrolysis is an alternative water treatment, which is receiving increasing attention from drinking and industrial water producers. This method is environmentally friendly, cheap, and easy to perform and has potential for automatization. Using this method oxidants (O(, OH(, HClO, ClO-, Cl2) are produced from electrolysis of water molecule and some of dissolved chemical compounds, such as chlorine ions which are normally present in drinking waters. To carry out the process of electrolysis the use of TinO2n-1 containing ceramic electrodes is possible.

Water treatment with electrolysis was performed in a specially made electrolytic cell consisting of TinO2n-1 containing ceramic anode and stainless still cathode. The total electrolysis cell resistance decreases if the current density applied to the electrolysis cell is increased. During electrolysis at constant current strength, the amount of chlorine which is delivered in the process of electrolysis is not dependent on the electrode surface. By varying the velocity of water flow, as well as current intensity, it is possible to achieve the formation of desired amount of chlorine in electrolysis process. The specific electric work for formation of chlorine decreases with increase of electrode area at constant current strength and increase at a constant current density.

