RATIONAL Structure of Trussed Beam
V.Goremikins1, D.Serdjuks2
1Institute of Structural Engineering and Reconstruction, Riga Technical University

Azenes Str.16, LV-1048 Riga, Latvia, E-mail: goremikin@inbox.lv
2Institute of Structural Engineering and Reconstruction, Riga Technical University

Azenes Str.16, LV-1048 Riga, Latvia, E-mail: dmitrijs@bf.rtu.lv
Abstract. Using of subdiagonals is one of the most common methods to decrease the materials consumption of the beams in the case of increased spans. Two variants of the trussed steel beam with the span in 12 m were considered. The considered beams are the main load bearing elements of the roof structure. The trussed beams consist of the top and bottom chords, struts and pillars.

Rational from the point of view of materials consumption distances from the support to the joint of the edge strut with the top and bottom chords, height of trussed beam and vertical dimension of the edge strut were evaluated by the response surface and inspection methods. The dependences of materials consumption and distances from the support to the joint of the edge strut with the top and bottom chords, height of trussed beam and vertical dimension of the edge strut were obtained as the second order polynomial equation on the base of numerical experiment.

Rational from the point of view of materials consumption structure of the trussed beam was suggested.

Keywords: steel trussed beam, inclined edge struts, materials consumption, numerical experiment, second order polynomial approximation.

1. Introduction
The problem of efficiency increase of steel structures is one of the most significant at the present moment (Shen et al. 2005). The different methods of optimization are used for determination of rational parameters of steel structures. The widely known methods are the Newton method, conjugate gradient method, response surface method, hybrid genetic algorithm and others. The trussed beams (Fig.1) took a special position among the plane steel structures as a link between the beams and trusses.
a)

[image: image1.png]OOOOO





b) 
[image: image2.png]12000

, 1500 |,






c) 
[image: image3.png]12000

‘ 1500 ‘





d)

[image: image4.png]



e)

[image: image5.png]12000

‘1500‘





Fig.1. Types of the trussed steel beams: a) – type with the central pillar; b) – type with the inclined edge struts; c) – type with the inclined central struts and  edge  pillars;  d) – type with the vertical edge and central pillars; e) – type with the inclined edge struts and vertical central pillar.
The regulation of stress-strain state of bended steel structures in the design stage is one of the methods to increase the efficiency of structures. The stress-strain state regulation for beams can be obtained by the using of subdiagonals. The beam is transformed in to continuous one with the complained supports in this case (Gogol 2009).  More rational bending moment distribution for trussed beam, in comparison with the simple one, allows decreasing of materials consumption. But the more rational bending moment distribution and materials consumption can be obtained in the case when the trussed beam possesses a rational structure.

The most widely used types of trussed beams are beams with the central pillar, beams with the vertical edge and central pillars and beams with the inclined edge struts (Fig.1) (Gogol 2009; Михайлов 2002; Беленя 1991; Шмидт and Дмитриев 2002).

The comparison of the trussed beams types from the point of view of materials consumption under the action of the uniformly distributed load with intensity in 1 kN/m indicates that the most rational are types with the vertical edge struts and with the inclined edge struts.  The trussed beams with the heights and spans equal to 1.5 and 12 m, correspondingly, were considered. 
In this connection, the aim of the paper is to develop rational from the point of view of materials consumption structure of trussed beams with the vertical edge and central pillars and with the inclined edge struts and vertical central pillar. The dependences of the main geometric parameters of the trussed beams and materials consumption also must be obtained.
2. Solution of the problem
The trussed steel beams with the vertical edge and central pillars and with the inclined edge struts and vertical central pillar were considered as the objects of investigation. The spans of the beams were equal to 12 m (Gogol 2009). The development of rational structures of trussed beams was joined with the determination of it rational, from the point of view of materials consumption, geometric parameters. The main geometric parameters of trussed beam with the vertical edge and central pillars are heights of beam and edge pillar and distance from the support to the joint of edge pillar with the top chord (Fig.2). 
a)
[image: image6.png]q=1kN/m






b)

[image: image7.png]q=1kN/m





Fig.2. Design schemes of the trussed steel beams: a) – variant with the vertical edge pillar; b) – variant with the inclined edge struts; 1 – top chord; 2 – bottom chord; 3 – central pillar; 4 – edge strut; 5 – edge pillar; a - distance from the support to the joint of the edge strut with the top chord; a1 - distance from the support to the joint of the edge strut with the bottom chord; h – height of the trussed beam; h1 – vertical dimension of the edge strut or edge pillar.
The main geometric parameters of trussed beam with the inclined edge struts and vertical central pillar are distances from the support to the joint of the edge strut with the top and bottom chords, height of trussed beam and vertical dimension of the edge strut (Fig.2). 

The beams were considered under the action of uniformly distributed load with intensity in 1 kN/m. The bottom chord is not prestressed. Steel with the point of yield in 280 MPa was considered as material of top chord, struts and pillars. Steel cable on the base of the wire with tensile strength in 1960 MPa and modulus of elasticity in 1.7·105 MPa was considered as the material of bottom chord. 
Rational from the point of view of materials consumption main geometric parameters of trussed beams with the vertical edge and central pillars and with the inclined edge struts and vertical central pillar (Fig.2) were evaluated by the response surface method (Myers and Montgomery 2002) and by the enumerative technique. The dependence of the materials consumption on the heights of the beam,  edge pillar and distance from the support to the joint of edge pillar with the top chord (Fig.2. a)), was evaluated in the form of second order polynomial equations (1) (Спиридонов 1981; Serdjuks and Rocens 2004): 


[image: image8.wmf]2

012311112

22

13122231331

a

Pbbhbabhbhbha

bhhbabahbh

=+×+×+×+×+××+

+××+×+××+×


(1)

The dependence of the materials consumption on the distances from the support to the joint of the edge strut with the top and bottom chords so as height of trussed beam and vertical dimension of the edge strut (Fig.2. b)) was evaluated by the same approach, as the equation (1):


[image: image9.wmf]2

012314111

2

1213114122

22

2312413313411441

b

Pbbhbababhbh

bhabhabhhba

baabahbabahbh

=+×+×+×+×+×+

+××+××+××+×+

+××+××+×+××+×


(2)
The coefficients of equations (1) and (2) were determined on the base of numerical experiment. The experiment was joined with the determination of internal forces, which acts in the elements of the truss when the uniformly distributed load is applied. The dimensions of elements cross-sections were determined then on the base of obtained internal forces.
Coefficients of the equation (1) b1, b2, b3, b12, b13, b123, b23 were determined by the equations (3-9), but the coefficients b0, b11, b22, b33 were determined by the equation system (10), which were obtained on the base of least square method.



[image: image10.wmf],

1

1

2

1

n

ai

i

n

i

Ph

b

h

=

=

=

å

å


(3)



[image: image11.wmf],

1

2

2

1

n

ai

i

n

i

Pa

b

a

=

=

=

å

å


(4)



[image: image12.wmf],1

1

3

2

1

1

n

ai

i

n

i

Ph

b

h

=

=

=

å

å


(5)



[image: image13.wmf],

1

12

22

1

n

ai

i

n

i

Pha

b

ha

=

=

=

å

å


(6)



[image: image14.wmf],1

1

13

22

1

1

n

ai

i

n

i

Phh

b

hh

=

=

=

å

å


(7)



[image: image15.wmf],1

1

123

222

1

1

n

ai

i

n

i

Phah

b

hah

=

=

=

å

å


(8)



[image: image16.wmf],1

1

23

22

1

1

n

ai

i

n

i

Pah

b

ah

=

=

=

å

å


(9)



[image: image17.wmf]222

01122133,

1111

2224222

01122133,

11111

2422222

01122133,

11111

22222

10111122

11

 

nnnn

ai

iiii

nnnnn

ai

iiiii

nnnnn

ai

iiiii

nn

ii

nbhbabhbP

abhababahbPa

hbhbhabhhbPh

hbhhbahb

====

=====

=====

==

+++=

+++=

+++=

+++

åååå

ååååå

ååååå

åå

42

133,1

111

nnn

ai

iii

hbPh

===

ì

ï

ï

ï

ï

ï

í

ï

ï

ï

ï

=

ï

î

ååå


(10)

where: n – amount of the experiments; Pa,i – value of materials consumption for i-th experiment.

Coefficients of the equation (2) were determined by the same method as coefficients of the equation (1).
The elements of the top chord, struts and pillars are subjected to the compression with the bending. The type of cross-sections of top chord, struts and pillars was rectangular to prevent influence of the assortment. The height/width relations were equal to 2 for the elements of top chord and to 1 for the struts and pillars. 
The bottom chord is tensioned and its cross-sectional area was determined by the equation (11) (Ермолов 1991):


[image: image18.wmf]1.6

un

N

A

kR

×

³

×


(11)

where: A – cross-sectional area of the bottom chord; N – force acting in the bottom chord; Run – tensile strength of the wire; k – coefficient, taking into account the drop in the breaking force of the cable, caused by the inhomogeneity of stress distribution; 1.6 – reliability index of the material. 
The coefficient k , taking into account the drop in the breaking force of the cable, caused by the inhomogeneity of stress distribution, was equal to 0.75 (Трущев 1983). 

Rational values of the heights of edge and central pillars and distance from the support to the joint of edge pillar with the top chord were determined by the system of equations (12) and then were precised by the inspection.


[image: image19.wmf]11213111

21223122

31323331

1

+ 20,  

20,

20.

a

a

a

P

bbabhbh

h

P

bbhbhba

a

P

bbhbabh

h

ì

¶

=+×+×××=

ï

¶

ï

¶

ï

=+×+×+××=

í

¶

ï

¶

ï

=+×+×+××=

ï

¶

î


(12)

Rational values of the heights of the distances from the support to the joint of the edge strut with the top and bottom chords, height of trussed beam and vertical dimension of the edge strut were evaluated by the inspection.
Minimum materials consumption was determined on the base of obtained rational values of trussed beams geometric parameters. Second limit state was not taken into account.
3. Numerical results
3.1. Numerical Results for Trussed Beam with the Vertical Edge Pillars
Twenty seven variants of trussed beam with the vertical edge pillars were analised using the computer program LIRA 9.4. The variants were differed by the values of heights of the beam and central pillars and distance from the support to the joint of edge pillar with the top chord. The heights of the edge pillar change within the limits from 1 to 4 m. The relation of the edge pillars height to the beams height, changes within the limits from 0.65 to 0.85. The distance from the support to the joint of edge pillar with the top chord of the trussed beam changes within the limits from 2.6 to 3.2 m.
Coefficients of second order polynomial equation, which describe the dependences of material consumption on the heights of the beam and edge pillars and distance from the support to the joint of edge pillar with the top chord, are given in the Table 1. The coefficient of multiple determination R2, which describes the model adequacy, is equal to 0.85, that satisfy current engineering task.

Table 1. Coefficients of the equation (1)
	Designation of coefficients
	Values of coefficients

	b0
	387,0540

	b1
	-3,6141

	b2
	16,2759

	b3
	-905,5000

	b11
	2,4378

	b12
	-2,4778

	b13
	-4,4444

	b22
	53,2778

	b23
	-422,7780

	b33
	1404,3300


The dependence of materials consumption on the height of the beam and distance from the support to the joint of edge pillar with the top chord of the trussed beam is shown in Fig.3. The height of edge pillar is equal to three quarter of central pillars height.
The dependence indicates that materials consumption changes within the limits from 44.270 to 77.170 kg.

[image: image20.png]Sijas masa, kg

—
0 © O
o O o

@D N~
oo o





Fig.3. The dependence of materials consumption on the heights of the beam and distance from the support to the joint of edge pillar with the top chord of the trussed beam: Pa – materials consumption of trussed beam with the vertical edge pillar; h – height of the beam; a – distance from the support to the joint of edge pillar with the top chord. The height of edge pillar is equal to three quarter of the beams height.
The dependence of materials consumption on the heights of the beam and edge pillar is shown in Fig.4. The dependence was obtained when the distance from the support to the joint of edge pillar with the top chord of the trussed beam was constant and equal to 2.9 m. The shapes of obtained dependences indicate that the rational values of the heights of edge and central pillars and distance from the support to the joint of edge pillar with the top chord can be determined by the system of equations (12) and the obtained values will be within the limits of the experiments field.
[image: image21.png]



Fig.4. The dependence of materials consumption on the heights of the beam and edge pillar: Pa – materials consumption of trussed beam with the vertical edge pillar; h1 – height of the edge pillar. Other designations as in Fig.3. The distance from the support to the joint of edge pillar with the top chord of trussed beam is equal to 2.9 m. 

The dependence indicates that materials consumption changes within the limits from 44.270 to 85.650 kg.
The rational from the point of view of materials consumption values of height of the beam and distance from the support to the joint of edge pillar with the top chord are equal to 2.560 and 2.740m, respectively. The rational value of edge pillars height is equal to 1.820 m. Minimum value of materials consumption is equal to 42.97 kg. 
3.2. Numerical Results for Trussed Beam with the Inclined Edge Struts
Eighty one variants of trussed beam with the inclined edge struts were analised using the computer program LIRA 9.4. The variants were differed by the values of heights of the beam, distance from the support to the joint of the edge strut with the top chord of trussed beam, distance from the support to the joint of the edge strut with the bottom chord of trussed beam and vertical dimension of the edge strut. The height of the beam change within the limits from 1.9 to 2.5 m. The distance from the support to the joint of the edge strut with the top chord change within the limits from 2.5 to 2.9 m.  The distance from the support to the joint of the edge strut with the bottom chord change within the limits from 1.2 to 2.0 m. The vertical dimension of the edge strut change within the limits from 1.25 to 1.65 m.

Coefficients of second order polynomial equation, which describe the dependence of the materials consumption on the distances from the support to the joint of the edge strut with the top and bottom chords so as height of trussed beam and vertical dimension of the edge strut, are given in the Table 2. The coefficient of multiple determination R2, which describes the model adequacy, is equal to 0.86, that satisfy current engineering task.
Table 2. Coefficients of the equation (2)
	Designation of coefficients
	Values of coefficients

	b0
	215.358

	b1
	-175.258

	b2
	-171.295

	b3
	-48.6105

	b4
	455.119

	b11
	68.1405

	b12
	54.55

	b13
	34.5403

	b14
	-235.703

	b22
	26.7259

	b23
	19.1656

	b24
	-99.8139

	b33
	3.9044

	b34
	-62.5264

	b44
	156.977


The rational from the point of view of materials consumption values of main geometric parameters of trussed beam with the inclined edge struts were evaluated by the inspection. The distances from the support to the joint of the edge strut with the top and bottom chords changes with the step 0.02 m from 2.5 to 2.9 m and from 1.2 to 2 m, respectively. The heights of the beam and the vertical dimension of the edge strut changes with the step 0.02m, from 1.9 to 2.5 m and from 1.25 to 1.65 m, respectively.
The graphs of the dependence (2) are shown in Fig.5 and 6. The dependence of materials consumption on the height of the beam and distance from the support to the joint of the edge strut with the top chord of trussed beam is shown in Fig.5. The graphs were obtained at the fixed values of vertical dimension of the edge strut and distances from the support to the joint of the edge strut with the bottom chord. The vertical dimension of the edge strut was constant and equal to 1.45 m. The distances from the support to the joint of the edge strut with the bottom chord was fixes at the level of 1.20 m. 
[image: image22.png]Sijas masa, kg
w H g~
o

=
(=}





Fig.5. The dependence of materials consumption on the height of the beam and distance from the support to the joint of the edge strut with the top chord of trussed beam with the inclined edge struts: Pb – materials consumption of trussed beam; h - height of the beam; a - distance from the support to the joint of the edge strut with the top chord of trussed beam; The vertical dimension of the edge strut was equal to 1.45 m. The distances from the support to the joint of the edge strut with the bottom chord was equal to 1.20 m.
The dependence of materials consumption on the distances from the support to the joint of the edge strut with the top chord and vertical dimension of the edge strut is shown in Fig.6.
The rational, from the point of view of materials consumption, values of distances from the support to the joint of the edge strut with the top and bottom chords are equal to 2.840 and 1.910 m, respectively. The rational values of beams height and vertical dimension of the edge strut are equal to 2.480 and 1.630 m, respectively. Minimum value of materials consumption is equal to 40.919 kg. 

[image: image23.png]—
0 O 9
o o O

Sijas masa, kg
ar @ ~
o O o

—
o





Fig.6. The dependence of materials consumption on the distances from the support to the joint of the edge strut with the top chord and vertical dimension of the edge strut: h1 - vertical dimension of the edge strut. Other designations as in Fig.5. The distance from the support to the joint of the edge strut with the bottom chord of trussed beam is equal to 2 m. The height of the beam was equal to 2.2 m. 
So, using of inclined edge struts instead of vertical pillars allows to decrease materials consumption of trussed beam by 5%. The inclined edge struts allows to decrease more effectively the values of bending moments, which act in the top chord of trussed beam under the action of vertical uniformly distributed load.  
4. Conclusions
The rational from the point of view of materials consumption structure of trussed beams with the vertical edge and central pillars and with the inclined edge struts and vertical central pillar was suggested.
It was shown, that the rational from the point of view of materials consumption values of height of the beam and distance from the support to the joint of edge pillar with the top chord of trussed beams with the vertical edge and central pillars, are equal to 2.560 and 2.740m, respectively. The rational value of edge pillars height is equal to 1.820 m. Minimum value of materials consumption is equal to 42.97 kg. 

The rational from the point of view of materials consumption values of distances from the support to the joint of the edge strut with the top and bottom chords of trussed beams with the inclined edge struts and vertical central pillar, are equal to 2.840 and 1.910 m, respectively. The rational values of the beams height and vertical dimension of the edge strut are equal to 2.480 and 1.630m, respectively. Minimum value of materials consumption is equal to 40.919 kg. 

It was stated, that using of inclined edge struts instead of vertical pillars allows to decrease materials consumption of trussed beam by 5%.
References
Gogol, M. 2009. Shaping of Effective Steel Structures. Scientific proceedings of Rzeszow Technical University, Nr.264, Rzeszow, Poland, 2009. Rzeszow: Rzeszow Technical University, 43-56
Fletcher, R. 2000. Practical methods of optimization, 2nd edition. London: John Willey &Sons Inc. 451 p.

Montgomery, D.C. 2001. Design and analysis of experiments, 5th edition. New York: John Willey &Sons Inc. 697 p.

Myers, R. H.; Montgomery, D.C. 2002. Response Surface Methodology.: Process and Product Optimization Using Design Experiment, 2nd edition. New York: John Willey &Sons Inc. 798 p.

Peleshko, I.; Yurchenko, V.; Beliaev, A. 2009. Computer-Aided Design and Optimization of Steel Structural Systems. Scientific proceedings of Rzeszow Technical University, Nr.264, Rzeszow, Poland, 2009. Rzeszow: Rzeszow Technical University, 145-154
Serdjuks, D.; Rocens, K. 2004. Decrease the Displacements of a Composite Saddle- Shaped Cable Roof. Mech. Compos. Materials, Vol. 40, No5.

Shen, Z.Y.; Li, G.Q.; Zhang, Q.L. 2005. Advances in steel structures. Fourth International Conference: June 13-15, 2005, Shanghai, China.

Адлер Ю.; Маркова Е.; Грановский Ю. 1976. Планирование эксперимента при поиске оптимальных условий [Design of Experiment at Optimal Conditions Finding]. Москва: Издательство Ассоциации строительных вузов. 292 с.

Баничук, Н. 1986. Введение в оптимизацию конструкций [Leading into structures optimization]. Москва: Наука. 304 с.

Барабаш, М; Лазнюк, М.; Мартынова, М.; Пресняков, Н. 2008. Современные технологии расчета и проектирования металлических и деревянных конструкций [Modern Designing and Calculation Techniques of Steel and Timber Structures]. Москва: Издательство Ассоции строительных вузов. 328 с.
Беленя, Е. 1991. Стальные конструкции: Спецкурс [Steel Structures: Special Course]. Москва: Стройиздат. 687 с.

Ведеников, Г. 1998. Металлические конструкции: Общий курс [Steel Structures: General Course]. Москва: Стройиздат. 760 с.

Городецкий, А.; Евзоров, И. 2005. Компьютерные модели конструкций [Structures computer models]. Киев: Факт. 344 с.

Ермолов, В. 1991. Инженерные конструкции [Engineering Structures]. Москва: Высшая школа. 408 с.

Михайлов В. 2002. Предварительно напряженные комбинированные и вантовые конструкции [Prestressed Combined and Cable Structures]. Москва: ACB. 255 с.
Спиридонов, А. 1981. Планирование эксперимента при исследовании технологических процессов [Design Experiment for Investigation of Technological Process]. Москва: Машиностроение. 184 с.
Трофимович, В.; Пермяков, В. 1981. Оптимальное проектирование металлических конструкций [Optimal Designing of Steel Structures]. Киев: Будiвельник. 136 с.

Трущев, А. 1983. Пространственные металлические конструкции  [Spatious Steel Structures]. Москва: Стройиздат. 216 с.

Шмидт А.; Дмитриев П. 2002. Атлас строительных конструкций из клееной древесины и водостойкой фанеры [Atlas of Building Structures of Glued Timber and Water-resistant Plywood]. Москва: Издательство Ассоциации строительных вузов. 292 с.
Pa, kg





Pa, kg





Pb, kg





Pb, kg








_1328701767.unknown

_1328701845.unknown

_1328702204.unknown

_1328702255.unknown

_1328702164.unknown

_1328701816.unknown

_1322337420.unknown

_1328701665.unknown

_1328701364.unknown

_1322337367.unknown

_1322337378.unknown

_1322336361.unknown

